## Summary
Test Settings
Name | JUAN-R-14
Pressure Head 1 (cm) | 5
Pressure Head 2 (cm) | 10
Soak Time (min) | 15
Pressure Cycles | 2
Hold Time (min) | 15
Insertion Depth (cm) | 10
Run Time (min) | 75
Ring Diameter (cm) | 16.15
Ring Type | Surface
Infiltrometer Settings
SATURO Serial | SAT00003420
Firmware Version | DHI 2.0.2 prelim
Hardware Version | 2
Downloader Version | 2.0.15
Battery | 64%
Test Results
Raw Records | 75
First Record ID | 964
Start Time | 14/05/2026 13:01:03
Stop Time | 14/05/2026 14:16:03
Kfs (cm/s) | -0.001458
Kfs Error (cm/s) | 0.0007269

## Raw Data
Record ID | Time (min) | Water Level (cm) | Pressure (cm) | Flux (cm/s) | Volume (mL/s)
964 | 1 | 4.1 | 2.411 | 0.0021981 | 0.45028
965 | 2 | 4.92 | 4.817 | 0.0079343 | 1.6253
966 | 3 | 4.92 | 4.814 | 0.0076349 | 1.564
967 | 4 | 4.93 | 4.802 | 0.0072606 | 1.4873
968 | 5 | 4.92 | 4.805 | 0.0073355 | 1.5027
969 | 6 | 4.93 | 4.81 | 0.0074103 | 1.518
970 | 7 | 4.92 | 4.817 | 0.0073355 | 1.5027
971 | 8 | 4.92 | 4.819 | 0.0072606 | 1.4873
972 | 9 | 4.93 | 4.805 | 0.0070361 | 1.4413
973 | 10 | 4.93 | 4.807 | 0.0069612 | 1.426
974 | 11 | 4.93 | 4.814 | 0.0068864 | 1.4107
975 | 12 | 4.93 | 4.82 | 0.0067367 | 1.38
976 | 13 | 4.93 | 4.822 | 0.0068115 | 1.3953
977 | 14 | 4.93 | 4.818 | 0.0066618 | 1.3647
978 | 15 | 4.93 | 4.826 | 0.0067367 | 1.38
979 | 16 | 4.93 | 5.594 | 0.0063624 | 1.3033
980 | 17 | 4.93 | 4.891 | 0.0063624 | 1.3033
981 | 18 | 4.94 | 5.462 | 0.0062875 | 1.288
982 | 19 | 4.93 | 5.829 | 0.0062875 | 1.288
983 | 20 | 4.94 | 5.959 | 0.0062875 | 1.288
984 | 21 | 4.94 | 6.268 | 0.006063 | 1.242
985 | 22 | 4.94 | 5.581 | 0.0059133 | 1.2113
986 | 23 | 4.94 | 5.906 | 0.0059133 | 1.2113
987 | 24 | 4.94 | 6.82 | 0.0059133 | 1.2113
988 | 25 | 4.94 | 6.787 | 0.0058384 | 1.196
989 | 26 | 4.94 | 6.65 | 0.0057636 | 1.1807
990 | 27 | 4.94 | 6.445 | 0.0056887 | 1.1653
991 | 28 | 4.94 | 6.721 | 0.005539 | 1.1347
992 | 29 | 4.94 | 7.632 | 0.0056887 | 1.1653
993 | 30 | 4.94 | 6.438 | 0.005539 | 1.1347
994 | 31 | 4.94 | 4.8 | 0.0058384 | 1.196
995 | 32 | 4.94 | 4.837 | 0.0056139 | 1.15
996 | 33 | 4.94 | 4.851 | 0.0056139 | 1.15
997 | 34 | 4.94 | 4.85 | 0.0054642 | 1.1193
998 | 35 | 4.95 | 4.86 | 0.0050151 | 1.0273
999 | 36 | 4.95 | 4.846 | 0.0049402 | 1.012
1000 | 37 | 4.95 | 4.852 | 0.0048654 | 0.99667
1001 | 38 | 4.95 | 4.868 | 0.0049402 | 1.012
1002 | 39 | 4.95 | 4.865 | 0.0050151 | 1.0273
1003 | 40 | 4.95 | 4.868 | 0.0049402 | 1.012
1004 | 41 | 4.95 | 4.858 | 0.0049402 | 1.012
1005 | 42 | 4.95 | 4.866 | 0.0050151 | 1.0273
1006 | 43 | 4.95 | 4.862 | 0.0051648 | 1.058
1007 | 44 | 4.95 | 4.866 | 0.0050899 | 1.0427
1008 | 45 | 4.95 | 4.857 | 0.0051648 | 1.058
1009 | 46 | 4.95 | 5.596 | 0.0050151 | 1.0273
1010 | 47 | 4.95 | 5.925 | 0.0049402 | 1.012
1011 | 48 | 4.95 | 5.302 | 0.0050899 | 1.0427
1012 | 49 | 4.95 | 6.076 | 0.0048654 | 0.99667
1013 | 50 | 4.95 | 5.714 | 0.0048654 | 0.99667
1014 | 51 | 4.95 | 7.038 | 0.0048654 | 0.99667
1015 | 52 | 4.95 | 6.192 | 0.0050151 | 1.0273
1016 | 53 | 4.95 | 6.2 | 0.0047157 | 0.966
1017 | 54 | 4.95 | 6.253 | 0.0049402 | 1.012
1018 | 55 | 4.95 | 6.167 | 0.0051648 | 1.058
1019 | 56 | 4.95 | 6.097 | 0.0052396 | 1.0733
1020 | 57 | 4.95 | 6.584 | 0.0052396 | 1.0733
1021 | 58 | 4.95 | 7.07 | 0.0051648 | 1.058
1022 | 59 | 4.95 | 6.309 | 0.0051648 | 1.058
1023 | 60 | 4.95 | 6.99 | 0.0051648 | 1.058
1024 | 61 | 4.95 | 5.054 | 0.0052396 | 1.0733
1025 | 62 | 4.95 | 4.857 | 0.0052396 | 1.0733
1026 | 63 | 4.95 | 4.867 | 0.0051648 | 1.058
1027 | 64 | 4.95 | 4.863 | 0.0050899 | 1.0427
1028 | 65 | 4.95 | 4.862 | 0.0052396 | 1.0733
1029 | 66 | 4.95 | 4.863 | 0.0052396 | 1.0733
1030 | 67 | 4.95 | 4.865 | 0.0052396 | 1.0733
1031 | 68 | 4.95 | 4.872 | 0.0053145 | 1.0887
1032 | 69 | 4.95 | 4.861 | 0.0053145 | 1.0887
1033 | 70 | 4.95 | 4.86 | 0.0051648 | 1.058
1034 | 71 | 4.95 | 4.872 | 0.0052396 | 1.0733
1035 | 72 | 4.95 | 4.869 | 0.0050899 | 1.0427
1036 | 73 | 4.95 | 4.861 | 0.0052396 | 1.0733
1037 | 74 | 4.95 | 4.866 | 0.0050151 | 1.0273
1038 | 75 | 4.95 | 4.871 | 0.0050151 | 1.0273