## Summary
Test Settings
Name | ULT-FK3
Pressure Head 1 (cm) | 5
Pressure Head 2 (cm) | 15
Soak Time (min) | 15
Pressure Cycles | 2
Hold Time (min) | 20
Insertion Depth (cm) | 10
Run Time (min) | 95
Ring Diameter (cm) | 16.15
Ring Type | Surface
Infiltrometer Settings
SATURO Serial | SAT00003420
Firmware Version | DHI 2.0.2 prelim
Hardware Version | 2
Downloader Version | 2.0.15
Battery | 64%
Test Results
Raw Records | 95
First Record ID | 869
Start Time | 14/05/2026 10:17:57
Stop Time | 14/05/2026 11:52:57
Kfs (cm/s) | 0.003193
Kfs Error (cm/s) | 5.711e-05

## Raw Data
Record ID | Time (min) | Water Level (cm) | Pressure (cm) | Flux (cm/s) | Volume (mL/s)
869 | 1 | 4.17 | 6.335 | 0.0020471 | 0.41935
870 | 2 | 4.95 | 4.755 | 0.0048654 | 0.99667
871 | 3 | 4.95 | 4.851 | 0.0050899 | 1.0427
872 | 4 | 4.95 | 4.942 | 0.0053145 | 1.0887
873 | 5 | 4.95 | 4.9 | 0.0049402 | 1.012
874 | 6 | 4.95 | 4.973 | 0.0051648 | 1.058
875 | 7 | 4.95 | 4.972 | 0.0050151 | 1.0273
876 | 8 | 4.95 | 5.02 | 0.0051648 | 1.058
877 | 9 | 4.95 | 4.989 | 0.0050151 | 1.0273
878 | 10 | 4.95 | 5.053 | 0.0051648 | 1.058
879 | 11 | 4.95 | 5.04 | 0.0050151 | 1.0273
880 | 12 | 4.95 | 5.062 | 0.0047157 | 0.966
881 | 13 | 4.95 | 5.058 | 0.0044911 | 0.92
882 | 14 | 4.95 | 5.067 | 0.0044911 | 0.92
883 | 15 | 4.95 | 5.107 | 0.0044911 | 0.92
884 | 16 | 4.95 | 13.18 | 0.0052396 | 1.0733
885 | 17 | 4.93 | 14.097 | 0.0064372 | 1.3187
886 | 18 | 4.93 | 14.309 | 0.0067367 | 1.38
887 | 19 | 4.93 | 14.426 | 0.0069612 | 1.426
888 | 20 | 4.93 | 14.683 | 0.0069612 | 1.426
889 | 21 | 4.93 | 14.718 | 0.0070361 | 1.4413
890 | 22 | 4.93 | 14.824 | 0.0070361 | 1.4413
891 | 23 | 4.93 | 14.955 | 0.0070361 | 1.4413
892 | 24 | 4.93 | 14.889 | 0.0067367 | 1.38
893 | 25 | 4.93 | 15.086 | 0.0067367 | 1.38
894 | 26 | 4.93 | 15.091 | 0.0065121 | 1.334
895 | 27 | 4.93 | 15.127 | 0.0065121 | 1.334
896 | 28 | 4.93 | 15.186 | 0.0064372 | 1.3187
897 | 29 | 4.93 | 15.116 | 0.0067367 | 1.38
898 | 30 | 4.93 | 15.16 | 0.0066618 | 1.3647
899 | 31 | 4.93 | 15.163 | 0.0065121 | 1.334
900 | 32 | 4.93 | 15.223 | 0.0066618 | 1.3647
901 | 33 | 4.93 | 15.389 | 0.0066618 | 1.3647
902 | 34 | 4.93 | 15.3 | 0.0066618 | 1.3647
903 | 35 | 4.93 | 15.221 | 0.0065121 | 1.334
904 | 36 | 4.95 | 5.754 | 0.0052396 | 1.0733
905 | 37 | 4.96 | 4.9 | 0.0044911 | 0.92
906 | 38 | 4.96 | 4.885 | 0.0041917 | 0.85867
907 | 39 | 4.96 | 4.919 | 0.0042665 | 0.874
908 | 40 | 4.96 | 4.904 | 0.0041168 | 0.84333
909 | 41 | 4.96 | 4.944 | 0.0043414 | 0.88933
910 | 42 | 4.96 | 4.951 | 0.0041917 | 0.85867
911 | 43 | 4.96 | 4.952 | 0.0041168 | 0.84333
912 | 44 | 4.96 | 4.959 | 0.0041168 | 0.84333
913 | 45 | 4.96 | 4.998 | 0.0041917 | 0.85867
914 | 46 | 4.96 | 4.991 | 0.0041168 | 0.84333
915 | 47 | 4.96 | 5.003 | 0.0041168 | 0.84333
916 | 48 | 4.96 | 5.028 | 0.0041168 | 0.84333
917 | 49 | 4.96 | 5.028 | 0.004042 | 0.828
918 | 50 | 4.96 | 5.009 | 0.0039671 | 0.81267
919 | 51 | 4.96 | 5.063 | 0.0041168 | 0.84333
920 | 52 | 4.96 | 5.033 | 0.0039671 | 0.81267
921 | 53 | 4.96 | 5.056 | 0.0039671 | 0.81267
922 | 54 | 4.96 | 5.066 | 0.004042 | 0.828
923 | 55 | 4.96 | 5.062 | 0.0039671 | 0.81267
924 | 56 | 4.95 | 13.314 | 0.0048654 | 0.99667
925 | 57 | 4.94 | 14.132 | 0.0056139 | 1.15
926 | 58 | 4.94 | 14.406 | 0.0056887 | 1.1653
927 | 59 | 4.94 | 14.49 | 0.0056887 | 1.1653
928 | 60 | 4.94 | 14.691 | 0.0057636 | 1.1807
929 | 61 | 4.94 | 14.678 | 0.0056887 | 1.1653
930 | 62 | 4.94 | 14.771 | 0.0056887 | 1.1653
931 | 63 | 4.94 | 14.885 | 0.0058384 | 1.196
932 | 64 | 4.94 | 15.061 | 0.005539 | 1.1347
933 | 65 | 4.94 | 15.124 | 0.0058384 | 1.196
934 | 66 | 4.94 | 15.059 | 0.0057636 | 1.1807
935 | 67 | 4.94 | 15.152 | 0.0058384 | 1.196
936 | 68 | 4.94 | 15.184 | 0.0056887 | 1.1653
937 | 69 | 4.94 | 15.175 | 0.0056887 | 1.1653
938 | 70 | 4.94 | 15.224 | 0.0054642 | 1.1193
939 | 71 | 4.94 | 15.177 | 0.005539 | 1.1347
940 | 72 | 4.94 | 15.199 | 0.0054642 | 1.1193
941 | 73 | 4.94 | 15.318 | 0.0053893 | 1.104
942 | 74 | 4.94 | 15.142 | 0.0053893 | 1.104
943 | 75 | 4.94 | 15.239 | 0.0053893 | 1.104
944 | 76 | 4.96 | 5.689 | 0.0044911 | 0.92
945 | 77 | 4.96 | 4.896 | 0.0035929 | 0.736
946 | 78 | 4.96 | 4.9 | 0.0035929 | 0.736
947 | 79 | 4.97 | 4.879 | 0.0034432 | 0.70533
948 | 80 | 4.97 | 4.931 | 0.0035929 | 0.736
949 | 81 | 4.97 | 4.883 | 0.0032935 | 0.67467
950 | 82 | 4.97 | 4.984 | 0.0035929 | 0.736
951 | 83 | 4.97 | 4.924 | 0.0033683 | 0.69
952 | 84 | 4.97 | 4.98 | 0.003518 | 0.72067
953 | 85 | 4.97 | 4.957 | 0.0034432 | 0.70533
954 | 86 | 4.97 | 4.981 | 0.0034432 | 0.70533
955 | 87 | 4.97 | 5.01 | 0.003518 | 0.72067
956 | 88 | 4.97 | 4.981 | 0.0032935 | 0.67467
957 | 89 | 4.97 | 5.033 | 0.003518 | 0.72067
958 | 90 | 4.97 | 5 | 0.0033683 | 0.69
959 | 91 | 4.97 | 5.031 | 0.0034432 | 0.70533
960 | 92 | 4.97 | 5.016 | 0.0032935 | 0.67467
961 | 93 | 4.97 | 5.053 | 0.0034432 | 0.70533
962 | 94 | 4.97 | 5.072 | 0.0034432 | 0.70533
963 | 95 | 4.97 | 5.03 | 0.0032935 | 0.67467